## Sheet1
Quantity of micro inverter | Scenario | Product code | Types of accessories required | Image | Quantity required | Whether customers need to make their own wire
Single-Microinverter Solution | 1 micro inverter directly connected to the grid - requires customers to make their own lines | 312102016800 | Field Connector |  | 1 | Yes, customers need to use their own line with the head of schuko
Multi-Microinverter Solution | N micro inverters access to the grid - customers want to make their own AC end cable and AC trunk cables | 312102006000 | AC Trunk Connector |  | N | No
|  | 312102006300 | Connector-F |  | N-1 | Yes, customers need to make their own AC trunk cables to connect between AC connector- F and connector-M
|  | 312701011000 | AC Trunk End Cap |  | 1 | No
|  | 312102006200 | Connector-M |  | N | Yes. 1.Customers need to make their own AC trunk cables to connect between AC connector- F and connector-M 2. Customers need to make AC end cable to the grid by themselves
|  | 312701011100 | AC Trunk Port Disconnect Tool |  | 1 | No